## General
Green Lab Checklist 2026 — General
Scoring: 1 = Fully met 0.5 = Partially met 0 = Not met NA = Not applicable
# | Checklist Item | Score | Method of Verification
Governance & Awareness
1 | A Green Advocate has been appointed for the lab | 5 | Check appointment record / email
2 | All current lab members are informed of the GreenLab Programme and green initiatives in the lab | 5 | Verify via meeting minutes or email circular
3 | Green Lab information is included in the induction programme for new staff | 10 | Check induction materials
4 | The Green Advocate sends reminders or green tips to all lab members at least quarterly | 10 | Check email records
5 | The lab has set out green initiatives or objectives for the current year | 10 | Review documented objectives
Energy & Equipment Use
1 | Equipment that can be turned off after office hours is identified and labelled with stickers | 5 | Physical check
2 | Computers, copiers, printers and lights are turned off or set to sleep/standby when not in use | 5 | Observation / spot check
3 | Printers and computers are set to double-sided printing by default | 5 | Check printer/computer settings
4 | Printers are set to sleep mode after ≤30 min of inactivity | 5 | Check printer settings
5 | Timers are used where possible to auto-switch off equipment | 5 | Physical check
6 | Reminders are sent to staff to unplug non-essential equipment before long holidays and school breaks | 5 | Check email records
7 | Lab has a full equipment inventory in place | 10 | Review inventory document
Procurement & Waste
1 | The lab maintains a chemical / lab consumables / equipment inventory | 10 | Review inventory
2 | Stock is checked against inventory before purchasing additional chemicals, consumables or equipment | 5 | Interview / process check
3 | Lab consumables and equipment are reused and/or recycled where possible | 5 | Observation
4 | Equipment is purchased through the NUS catalogue to ensure energy-efficient models are selected | 5 | Review last 12 months purchase records
5 | Only the minimum necessary volume of chemical solution is prepared per experiment | 5 | Interview researchers
7 | Single-use plastics are minimised; reusable labware and bulk reagent purchasing are preferred where feasible | 5 | Observation / procurement review
Lighting
1 | All lab lights are LED | 10 | Physical check
2 | Reminders to switch off lights when not in use are displayed | 5 | Physical check
3 | Motion sensors or occupancy controls are installed where applicable | 5 | Physical check
Water
1 | Ice maker is used efficiently — only as much ice as needed is produced | 5 | Observation / interview
2 | Efficient labware washing practices are established (e.g. full loads, appropriate cycles) | 10 | Observation
3 | Autoclave is run at full or near-full capacity and set to standby when not in use | 5 | Observation
4 | Appropriate quality water is used for each task; tap water is used wherever suitable | 5 | Interview researchers
| Total Score (auto): | 160

## Equipment
Green Lab Checklist 2026 — Equipment
Scoring: 1 = Fully met 0.5 = Partially met 0 = Not met NA = Not applicable
# | Checklist Item | Score | Method of Verification
ULT / Freezers
1 | All lab ULTs have been replaced with energy-efficient units (campus replacement programme or newer) | 10 | Check model / purchase records
2A | Ultra-low temperature (ULT) freezers are set to –70 °C instead of –80 °C where scientifically permissible | 10 | Check temperature display
2B | Regular freezers are set to –20 °C | 10 | Check temperature display
3 | Freezers are clearly labelled with ownership and contents | 5 | Physical check
4 | Freezer contents are organised and inventoried to minimise door-open time | 5 | Review inventory / spot check
5 | Freezers are defrosted and maintained at least once every 12 months | 5 | Check maintenance log
6 | Obsolete samples are reviewed and removed at least annually | 5 | Interview PI / check records
7 | Freezers (non-decanting units) are at least 70% full at all times | 5 | Spot check fill level
8 | Freezers are consolidated at shared locations where feasible | 5 | Physical check
9 | Equipment age is tracked; freezers older than 10 years are flagged for energy efficiency review | 5 | Review inventory / purchase dates
Fume Hoods
1 | Fume hood sashes are kept closed when unattended and reminders are displayed | 10 | Observation / spot check
2 | Lab members receive training on proper fume hood usage at least annually | 5 | Check training records
3 | At least two sash compliance observations are conducted per year | 5 | Check observation log
4 | Unused or rarely used fume hoods are identified for decommissioning or restricted use | 5 | Review fume hood utilisation
5 | All fume hood controls are operational | 10 | Physical check
6 | Fume hoods are regularly inspected and re-certified | 10 | Check certification records
7 | Fume hoods are not used for storage of items | 5 | Physical check
8 | Number of fume hoods is proportionate to active researcher count | 5 | Review allocation vs. headcount
Ovens
1 | Ovens are switched off or set to standby when not actively in use | 5 | Observation
2 | Oven temperatures are not set excessively above the required level | 5 | Check settings / interview
3 | Ovens are not used for long-term storage of items | 5 | Physical check
4 | Oven runs are batched where feasible to avoid partial-load cycles | 5 | Interview researchers
5 | Ovens are cleaned and maintained at least annually | 5 | Check maintenance log
Centrifuges
1 | Centrifuges are powered down when not in use | 5 | Observation
2 | Centrifuge loads are consolidated where possible to reduce number of runs | 5 | Interview researchers
3 | Preventive maintenance is performed per manufacturer guidance | 5 | Check maintenance records
4 | Shared centrifuge booking/scheduling is in place to improve utilisation | 5 | Check booking system, if any
Incubators
1 | Incubators are set to appropriate temperature and gas levels — no over-setting | 5 | Check settings
2 | Incubator doors are opened only when necessary | 5 | Observation
3 | Incubators are utilised to at least 70% capacity each time | 5 | Spot check fill level
4 | Under-utilised incubators are identified for consolidation or shutdown | 5 | Review utilisation data
5 | Routine cleaning and calibration are performed at least annually | 5 | Check maintenance log
Autoclaves
1 | Autoclaves are run only with full or near-full loads | 5 | Observation / log check
2 | Appropriate cycle types are selected for each load | 5 | Interview / log check
3 | Autoclaves are shared across labs where feasible | 5 | Check scheduling arrangement
4 | Preventive maintenance and leak checks are performed regularly | 5 | Check maintenance records
| Total Score (auto): | 210